Report on Gun-4.2 run at PITZ in 2014-2015

## Contents

|  |  |  |  |
| --- | --- | --- | --- |
| **section** | **subsection** | **section title** | **Author** |
| 0 | **0.1** | **PITZ beamline and gun-4.2 (history)** | A. Oppelt |
| 1 | 1.1  1.2  1.3  1.4  1.5  1.6  1.7  1.8 | **RF conditioning**  RF feed system and conditioning procedure  Gun power  Conditioning/operation with solenoid  Vacuum activity  Typical signals of RF and interlock sensors  Long term tests 🡪 statistics on unperturbed periods  Resonance temperature drift  … | Y. Renier |
| 2 | **2.1**  **2.2**  **2.3** | **Dark current**  History of the dark current  Typical and final dark current measurements  Dark current momentum measurements | M. Krasilnikov |
| 3 | **3.1**  **3.2**  **3.3**  **3.4** | **Electron beam momentum**  Maximum mean momentum vs. peak power  Phase scans and projections measured  HEDA2 vs. HEDA1 measurements  LPS tomography (with booster) | M. Krasilnikov |
| 4 | **4.1**  **4.2**  **4.3**  **4.4**  **4.5**  **4.6**  4.7  4.8  4.9 | **E-beam transverse phase space: Emittance measurements**  Various bunch charges experimentally optimized for 53MV/m (incl. simulations,  Gauss vs. flattop)  Impact of the e-beam transport  53MV/m, 500pC, history and correlation to QE  53MV/m vs. 60MV/m  60MV/m: long vs. short Gaussian  Beam brightness: measured vs. simulated  4nC measurements for THz studies (incl. transport)  Tomography update | G. Vashchenko  P. Boonpornprasert  G. Kourkafas, Y. Renier |
| 5 | **5.1**  **5.2**  **5.3**  **5.4** | **Cathodes**  History of cathode manipulations  Cathode images  QE and QE-maps  Hot spot: “rotation experiment” | M. Krasilnikov |
| 6 | **6.1**  **6.2**  6.3  6.4 | **RF system**  LLRF system 🡪 uTCA commissioning experience  Problems with readout of gun input directional coupler (5MW 🡨🡪 10MW coupler discrepancy, termination replacement etc.)  Problems (~kHz noise from modulator…?)  PWM implementation | W. Koehler  M. Hoffmann  S. Pfeiffer |
| **7** | **7.1**  **7.2** | **Photocathode Laser**  Status overview (OSS was not available)  3D-Elli – installation, commissioning, problems, first beams | M. Groß  T.Rublack, J. Good |
| 8 | 8.1  **8.2**  **8.3** | **RF gun stability**  WCS-stabilization + readout update  uTCA measurements  Beam-based measurements  … | J. Schultze  M. Krasilnikov |
| 9 | 9.1  **9.2**  **9.3** | **Investigations on imperfections**  Photoemission studies  Beam imaging studies  Electron beam asymmetry studies (coupler kick, solenoid tilt, 2nd vacuum mirror, etc) – *pdf only up to now?*  … | M. Krasilnikov  Q. Zhao  I. Isaev |
| 10 | **10.1**  **10.2**  **10.3**  **10.4**  **10.5**  **10.6** | **TDS**  Hardware setup and main parameters/specifications  Measurement setup and procedure  Bunch profile/length measurements vs BSA and charge  LPS measurements: first tests and problems  VB measurements for THz studies (250;100;20pC)  **First slice emittance measurements using TDS** … | H. Huck  P. Boonpornprasert |
| **11** | **11.1**  **11.2**  **11.3**  **11.4**  **11.5** | **Plasma acceleration experiment**  Intro and simulations (parameters and specs)  Setup and preparing  Commissioning (measuring)  First tests  Next steps | M. Gross |
|  |  |  |  |
|  |  |  |  |
| **Appendix 1** | | **Beam loading at 4-5nC** | M. Krasilnikov |
| Appendix 2 | | Gun fast recovery tests | Y. Renier (O. Hensler) |
| **Appendix 3** | | **E-beam optimization for high magnetic field** | M. Krasilnikov |
| Appendix 4 | | LPS studies (P. Lu –program) | G. Vashchenko |
|  | |  |  |