Minutes of RESULTS, PITZ Physics Seminar, 23/02/2012
Project: PITZ
Participants. Mikhail Krasilnikov, Georgios Kourkafas, Igor Isaev, Dmitriy Malyutin, Ji Li, Barbara Marchetti, Marek Otevrel, Davit Kalantaryan, Keerati Kusoljariyakul, Mahmoud Mahgoub, Yevgeniy Ivanisenko, Frank Stephan, Roman Martin

Agenda:
1)	D. Kalantaryan “Protocol translate server”
2)	D. Malyutin “Slice emittance measurements with TDS”

Results:
1)	
a.	Windows hosts can communicate to DOOCS using PTS.
b.	Addresses are replaced by shortcuts what saves traffic.
c.	Matlab in windows has now analogies of ttfw and ttfr function.
2)	 
a.	The expected beam size at the observation screen is expected to be less than 30 um for the suggested beam optics for 1 nC
b.	Reconstructed projected emittance is significantly higher than the original value
c.	Resolution limit was estimated from the simulation to be about 0.3 ps

Next steps:
What is to be done?	By whom?	Until when?	Done on	
Create matlab function for windows to read camera images	DK			
Booster and general steering software based on BPMs (screens as a backup solution)	DK			
Two quads for the slem measurements	DM			
Clarify optics matching to obtain larger size at the scanning quadrupole or a doublet. Now beam size is abou 10 um and is not measurable.	DM			
Include linear space charge in the quad scan model. Check reconstruction without the space charge	DM			
Simulate beam halo, correlated in x-y plane.	DM			
				
Protocol prepared by
Yevgeniy Ivanisenko, 23/02/2012