## Slide 1: Laser Pointing Stability: measurement Results
PPS 2nd August 2011
Matthias Groß

## Slide 2
1) On the Laser table:
Near field
Far field
12m (distance to M3)
2) In the shaft:
4 positions
3) In the tunnel:
After M3
VC1, VC2
Measurement time: 10min
Laser beam pointing stability measurements March-July 2011
Shaft
M1
Pos1
Pos2
Pos3
M2
Pos4
Lens1
Lens2
Shutter

## Slide 3: Overview
μm
Yrms
Xrms
Chart: 
| Laser hut; Near field camera | Laser hut; Far field camera | Shaft position 1 | Shaft position 2 | Shaft position 3 | Shaft position 4 | Equivalent M3 position on laser table | Tunnel near M3 (Shaft vent on) | Tunnel near M3 (Shaft vent off) | Tunnel VC1 (no BSA) | Tunnel VC2 (no BSA) | Tunnel VC2 (BSA 0.8mm)
 | 2.8 | 2.4 | 6 | 10.2 | 12.5 | 14.7 | 8.1 | 17.8 | 15 | 16.5 | 15.3 | 4.2
 | 1.8 | 5.3 | 7 | 10 | 7.8 | 14.1 | 13.9 | 13.1 | 15.1 | 5.6

## Slide 4: Overview
Chart: rms jitter (μm)
| Laser hut; Near field camera | Laser hut; Far field camera | Shaft position 1 | Shaft position 2 | Shaft position 3 | Shaft position 4 | Equivalent M3 position on laser table | Tunnel near M3 (Shaft vent on) | Tunnel near M3 (Shaft vent off) | Tunnel VC1 (no BSA) | Tunnel VC2 (no BSA) | Tunnel VC2 (BSA 0.8mm)
Xrms | 2.8 | 2.4 | 6 | 10.2 | 12.5 | 14.7 | 8.1 | 17.8 | 15 | 16.5 | 15.3 | 4.2
Yrms | 1.8 | 5.3 | 7 | 10 | 7.8 | 14.1 | 13.9 | 13.1 | 15.1 | 5.6

## Slide 5: Jitter divided by Beam Size
μm
Yrms
Xrms
Chart: 
| Laser hut; Near field camera | Laser hut; Far field camera | Shaft position 1 | Shaft position 2 | Shaft position 3 | Shaft position 4 | Equivalent M3 position on laser table | Tunnel near M3 (Shaft vent on) | Tunnel near M3 (Shaft vent off) | Tunnel VC1 (no BSA) | Tunnel VC2 (no BSA) | Tunnel VC2 (BSA 0.8mm)
 | 7 | 8 | 7.5 | 12.75 | 11.3636 | 18.375 | 9 | 12.7143 | 10.7143 | 12.6923 | 10.2 | 21
 | 6 | 13.25 | 7.7778 | 9.0909 | 9.75 | 12.8182 | 12.6364 | 11.9091 | 13.7273 | 28

## Slide 6
Laser beam pointing stability measurements March-July 2011
Location | Xrms (μm) of beam position | Xrms beam size (mm) | Yrms (μm) of beam position | Yrms beam size (mm)
Laser hut Near field camera | 2.8 | 0.4 | 1.8 | 0.3
Laser hut Far field camera | 2.4 | 0.3 | 5.3 | 0.4
Shaft position 1 | 6.0 | 0.8 | 7.0 | 0.9
Shaft position 2 | 10.2 | 0.8 | 10.0 | 1.1
Shaft position 3 | 12.5 | 1.1 | 6.8* | 0.8
Shaft position 4 | 14.7 | 0.8 | 11.3* | 0.9
Equivalent M3 position on laser table | 8.1 | 0.9 | 7.8 | 0.8
Tunnel near M3 (Shaft vent on) | 17.8 | 1.4 | 14.1 | 1.1
Tunnel near M3 (Shaft vent off) | 15.0 | 1.4 | 13.9 | 1.1
Tunnel VC1 (no BSA) | 16.5 | 1.3 | 13.1 | 1.1
Tunnel VC2 (no BSA) | 15.3 | 1.5 | 15.1 | 1.1
Tunnel VC2 (BSA 0.8mm) | 4.2 | 0.2 | 5.6 | 0.2
*Beam spot is cut

## Slide 7
Near Field
Far Field
Shaft with ventilation
Shaft without ventilation
VC1
VC2

## Slide 8
Shaft Pos1
Shaft Pos2
Shaft Pos3
Shaft Pos4
12m on laser table
VC2 with BSA